## Data
2021 Generation & Consumption Data for Newfoundland and Labrador Isolated Electricity Systems
| Isolated Systems | Legislative/Incorporated Communities and other service areas | Power Source(s) | Service Provider | Interprovincial Trade | Capacity (kW) | Number Of Generator Sets | Annual Supplied Gross Generation (kWh/yr) | Annual Fuel Consumption (Litres) | Means of Fuel Transportation to Community (Truck or Ship) | Fuel Storage on Site (Litres) | System Installation Date* | Annual Consumer Demand (MWh/yr)** | Total Number of Customers*** | Net Peak (kW)
| 1. FRANCOIS | Francois | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 635 | 3 | 586263 | 175970 | Ship | 10000 | 2000 | 559.263 | 73 | 173
| 2. GREY RIVER | Grey River | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 522 | 3 | 453043 | 155301 | Ship | 32000 | 1989 | 413.643 | 65 | 199
| 4. McCALLUM | McCallum | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 446 | 3 | 332109 | 111338 | Ship | 90800 | 2001 | 278.266 | 43 | 94
| 5. RAMEA | Ramea | Fossil-Diesel (Primary) | Newfoundland and Labrador Hydro | No | 2775 | 3 | 3348065 | 952882 | Ship | 60000 | 1997 | 3169.627 | 323 | 1103
|  |  | Renewable-Wind | Frontier Power | No | 390 | 6 | 300480 |  | - | - | 2004 | 300.48
| 6. ST. BRENDAN'S | Dock Cove, Hayward's Cove, Penny's Cove, Shalloway Cove & Shoal Cove | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 712 | 3 | 871410 | 268368 | Ship | 45400 | 1999 | 791.01 | 148 | 267
| 7. CHARLOTTETOWN | Charlottetown & Pinsent's Arm | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 2545 | 3 | 4440624 | 1294278 |  | 170391 | 1994 | 4229.394 | 233 | 1442
| 8. L'ANSE AU LOUP | Buckle's Point, Capstan Island, English Point, Forteau, Fox Cove, L'Anse Amour, L'Anse au Clair, L'Anse au Diable, L'Anse au Loup, Organ's Island, Pinware, Red Bay & West St. Modest | Hydro (Primary)4 | Hydro Quebec (Lac Robertson) | Yes | 4000 | na | 24953176 | 0 | - | - | 1996 | 24953.176 | 1040 | 5170
|  |  | Fossil-Diesel | Newfoundland and Labrador Hydro |  | 8050 | 6 | 245913 | 76574 | Truck | 60000 | 1984 | -193.8 |  | 5000
| 9. NORMAN BAY | Norman Bay | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 160 | 3 | 167175 | 59449 | Ship | 84800 | 2010 | 153.443 | 16 | 41
| 10. MARY'S HARBOUR | Lodge Bay & Mary's Harbour | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 2540 | 4 | 3656091 | 1048111 | Truck | 628000 | 1993 | 3548.245 | 270 | 1025
|  |  | Hydro | St. Mary's River Energy Limited Partnership | No | 240 | na | 710833 | - | - | - | 1987 | 703.661
|  |  | PV and BESS | St. Mary's River Energy Limited Partnership | No | 523.5 | na | 13664 | - | - | - | 2021 | 13.664
| 11. PORT HOPE SIMPSON | Port Hope Simpson | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 2325 | 4 | 3088855 | 836760 | Truck | 45460 | 1996 | 2968.3 | 230 | 685
| 12. ST. LEWIS | Frankie's Cove & St. Lewis | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 1020 | 3 | 1447791 | 406768 | Truck | 90000 | 1986 | 1366.327 | 127 | 322
| 13. BLACK TICKLE | Black Tickle & Domino | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 1005 | 3 | 1116466 | 326753 | Ship | 504000 | 2002 | 1050.801 | 91 | 237
| 14. CARTWRIGHT | Cartwright | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 2425 | 4 | 4560106 | 1295718 | Truck | 46202 | 1992 | 440.238 | 328 | 934
| 15. HOPEDALE | Hopedale | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 2629 | 4 | 5293118 | 1485808 | Ship | 222700 | 1998 | 5069.912 | 304 | 1024
| 16. MAKKOVIK | Makkovik | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 2075 | 3 | 4018910 | 1125403 | Ship | 1302000 | 1990 | 3893.335 | 230 | 737
| 17. NAIN | Nain | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 3945 | 4 | 9600314 | 2641235 | Ship | 1365400 | 2002 | 9280.319 | 520 | 1894
| 18. PARADISE RIVER | Paradise River | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 148 | 3 | 242339 | 94421 | Truck | 16000 | 1994 | 205.314 | 41 | 70
| 19. POSTVILLE | Postville | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 1067 | 3 | 1782052 | 519782 | Ship | 638000 | 2001 | 1713.834 | 144 | 356
| 20. RIGOLET | Rigolet | Fossil-Diesel | Newfoundland and Labrador Hydro | No | 1320 | 3 | 2907334 | 835064 | Ship | 813530 | 1998 | 2822.91 | 185 | 651
| 21. NATUASHISH | Natuashish | Fossil-Diesel | Mushuau Innu First Nation | No | 3966 | 4 | 9915510 | 2715586 | Ship | 90962 | 2002 | 9498.005 | na | 2090
Source: | Market Analysis Section, Resource and Transmission Planning Department
Newfoundland & Labrador Hydro
Notes:
(1) Does not include the hydro facility in Menihek, Newfoundland and Labrador, as the electricity is exported to Hydro Quebec to serve load in Quebec.
(2) Does not include electricity generation at Vale's mining operations in Voisey's Bay, Newfoundland and Labrador.
(3) Information on community demographics can be found on the Government of Newfoundland and Labrador community accounts webpage: http://nl.communityaccounts.ca/
(4) Hydro Quebec provides the bulk of L'Anse Au Loup's energy requirements on a contractual secondary basis.
*Purchase Year of Oldest Unit
** Includes energy losses on distribution system .
***Number of Customers as of Dec 2021. Information for Natuashish is unavailable.

## FIELD DEFINITIONS
FIELD DEFINITIONS
Isolated Systems | Name of the Isolated System.
Legislative/Incorporated Communities and other service areas | List of communities served by the Isolated System.
Power Source(s) | Indicates whether the Isolated System's power source for electricity is: Fossil fuel: diesel, natural gas, gasoline, propane Renewable: wind, solar, biomass or hydro
Service Provider | Name of entity in charge of providing electricity service.
Interprovincial Trade | Indicates whether the Isolated System's power source is generate in or out of province.
Capacity (kW) | Indicates total nameplate capacity.
Number Of Fossil Fuel Generator Sets | Indicates how many gensets ae on the Isolated System.
Annual Supplied Gross Generation (MWh/yr) | Indicates the annual generation of electricity in megawatt hours (MWh/yr).
Annual Fuel Consumption (Litres) | Indicates the annual fuel consumption of the fossil fuel used.
Means of Fuel Transportation (Air, Train, Truck or Ship) | Indicates how fuel is transported to the Isolated System (air, train, truck or ship).
Fuel Storage on Site (Litres) | Total storage capacity of main fossil fuel in litres.
System Installation Date | Indicates the purchase year of oldest unit on the Isolated System.
Annual Consumer Demand (MWh/yr) | Annual electricity demand in megawatt hour (MWh), as measured at the power plant .
Total Number of Customers | Summation of all domestic and general service customers served by the Isolated System.
Peak (kW) | Indicates maximum load demand that the Isolated System is requested to serve in kilowatts (kW).